Specification for Residential Series ThermalHEART Windows & Doors

9 February 2023

VANTAGE RESIDENTIAL SERIES THERMALHEART RANGE

3.1 AWNING and CASEMENT WINDOWS

Windows shall be constructed using Residential Series ThermalHEART frames, utilising a 44mm platform with thermal break and an IGU thickness up to 24mm.

- Opening sashes are cover facing as standard.

- All windows are externally beaded with square edge beads.

- Mullions and transoms have external or internal stiffening fins depending on window span and wind load.

Applies to Window No’s...  (or refer to the window schedule drawing)

For alternative options contact APL Technical Support