VANTAGE – METRO SERIES THERMAL HEART

5.2 HORIZONTAL SLIDING WINDOWS

Windows shall be constructed using Metro Series ThermalHEART sliding window frames and an IGU thickness up to 44mm.

- The perimeter frame is the Metro Series ThermalHEART sliding door frame with smaller profiles for rails, stiles and mullions.

- Stiffening boxes on interlocker stiles and mullions align in the closed position.

- All windows are externally beaded with square edge rather than sloped beads.

Applies to Window No’s...  (or refer to the window schedule drawing)

For alternative options contact APL Technical Support