viridian hush

Glass shall be Viridian Hush, 	*	 thick. The room mush achieve a noise level of __^_____  dB

*Glass Thickness available: 6.5mm, 8.5mm, 10.5mm & 12.5mm

^ Nominate a noise level in dB

All glass is to be selected and installed in accordance but not exclusively with the following Australian and/or New Zealand Standards

- AS 1288 Glass in Buildings Selection and Installation

- AS 1170 Minimum Wind Loads on Structures

- AS/NZ 2208 Safety Glazing Materials in Buildings

- AS/NZ 4666 Insulating Glass Units

- AS/NZ 4667 Quality Requirements for cut-to-size and Processed Glass