VIRIDIAN VFLOAT

Glass shall be Viridian VFloat.

The glass shall be 		 * thick 		 + Annealed.

* Glass Thicknesses available are – 3mm, 4mm, 5mm, 6mm, 8mm, 10mm, 12mm, 15mm, 19mm.

+ Clear and Tints available: Clear, Grey, Green, Bronze, SuperGrey, SuperGreen, SuperBlue (not all tints available in all thicknesses)

The glass shall comply with the following performance criteria:

| Visible Light Transmission % | U Value | Shading Co-efficient (SC) | Solar Heat Gain Coefficient (SHGC) |
| --- | --- | --- | --- |

All glass is to be selected and installed in accordance but not exclusively with the following Australian and/or New Zealand Standards

- AS 1288 Glass in Buildings Selection and Installation

- AS 1170 Minimum Wind Loads on Structures

- AS/NZ 2208 Safety Glazing Materials in Buildings

- AS/NZ 4666 Insulating Glass Units

- AS/NZ 4667 Quality Requirements for cut-to-size and Processed Glass