VIRIDIAN INTRUDERGUARD

Glass shall be Viridian IntruderGuard,  		 * thick, incorporating

PVB interlayer.

* Glass Thicknesses available are – 6.52mm and 7.52mm

PVB Interlayer Options include: Clear, Grey, Bronze, Green, Cool Blue, Soft White and White Translucent.

Special details on installation and glazing apply to this product.

All glass is to be selected and installed in accordance but not exclusively with the following Australian and/or New Zealand Standards

- AS 1288 Glass in Buildings Selection and Installation

- AS 1170 Minimum Wind Loads on Structures

- AS/NZ 2208 Safety Glazing Materials in Buildings

- AS/NZ 4666 Insulating Glass Units

- AS/NZ 4667 Quality Requirements for cut-to-size and Processed Glass