# 3151C	COMFLOR COMPOSITE FLOOR SYSTEM

## 1.	GENERAL

If you have pre-customised this work section using the "questions and answers" provided as part of the downloading process, it may be necessary to amend some clauses to suit the final project-specific version.

The section must still be checked and customised to suit the project being specified, by removing any other irrelevant details and adding project-specific details and selections.

This section relates to the supply and installation of composite steel/concrete floor systems:

-	ComFlor 210 (CF210

-	ComFlor 80 (CF80)

-	ComFlor 60 (CF60)

Modify or extend the above description to suit the project being specified.

Detailed information including, load span tables and ComFlor design software, is available from Steel & Tube, telephone 0-9-271 1780, web site www.comflor.co.nz, email comflor@comflor.co.nz or facsimile 0-9-271 1799.

### 1.1	RELATED WORK

Refer to ~ for ~

Include cross references to other sections where these contain related work.

Refer to the appropriate concrete section(s) used in the specification.

Documents

### 1.2	DOCUMENTS

Documents referred to in this section are:

AS 1397	Continuous hot-dip metallic coated steel sheet and strip - Coatings of zinc and zinc alloyed with aluminium and magnesium

AS/NZS 1554.2	Structural steel welding - Stud welding (steel studs to steel)

NZS 3101	Concrete structures standard

NZS 3104	Specification for concrete production

NZS 3114	Concrete surface finishes

NZS 3121	Water and aggregate for concrete

NZS 3122	Portland and blended cements (General and special purpose)

NZS 3404 (1997)	Steel Structures Standard

AS/NZS 4671	Steel reinforcing materials

AS/NZS ISO 9001	Quality management systems - Requirements

HERA R4-107	Composite Floor Construction Handbook - 2005

CMP 1004	Suspended slabs flatness tolerances (Steel Advisor, SCNZ)

CMP 1005	Suspended slabs level tolerances (Steel Advisor, SCNZ)

This section uses NZS 3404: 1997 as it is referenced in NZBC B1/AS1, and NZS 3404: 2009 is not used, as it is not referenced at time of writing.  Using NZS 3404: 2009 would be an Alternative Solution.

Documents listed above and cited in the clauses that follow are part of this specification.  However, this specification takes precedence in the event of it being at variance with the cited document.

Delete from the DOCUMENTS clause any document not cited.  List any additional cited documents.

RELATED DOCUMENTS:

Refer to the following related documents when preparing this section:

NZBC B1/AS1	Structure

AS/NZS 1170	Structural design actions

NZS 3109	Concrete construction

BRANZ BU 535	Repairing cracks in concrete

BRANZ BU 382	Curing concrete

### 1.3	MANUFACTURER'S DOCUMENTS

Manufacturer's and supplier's documents relating to work in this section are:

ComFlor Building Systems brochure: Composite Floor Decking - ComFlor 210

ComFlor Building Systems brochure: Composite Floor Decking - ComFlor 80

ComFlor Building Systems brochure: Composite Floor Decking - ComFlor 60

ComFlor Quick reference load span tables - ComFlor 60, ComFlor 80

ComFlor - The Complete Guide - DVD

Copies are available from Steel & Tube

Telephone:	+64 9-271 1780

Website:	www.comflor.co.nz

For specific technical information call Steve Stickland, Product Manager, or Brett Pocock, Construction Sales Engineer, ComFlor Building Systems.

Email:	comflor@comflor.co.nz

Telephone:	+64 9-271 1780

It is important to ensure that all personnel on site have access to accurate, up to date technical information on the many products, materials and equipment used on a project.  In most cases individual products are not used in isolation, but form part of a building process.  Also a particular manufacturer's and/or supplier's requirements for handling, storage, preparation, installation, finishing and protection of their product can vary from what might be considered the norm.  Access to technical information can help overcome this potential problem.

### 1.4	NO SUBSTITUTIONS

Substitutions are not permitted to any specified ComFlor composite steel/concrete floor systems, or associated components and products.

### 1.5	QUALIFICATIONS

Carry out work with experienced, competent installers familiar with the installation of composite floor decking systems.

ComFlor approved installers:

-	Composite Floor Decks Ltd, telephone 09 273 1111

-	Composite Floor Decks South Island Ltd, telephone 09 273 1111

-	email: info@studwelders.co.nz

-	website: www.studwelders.co.nz

## 2.	PRODUCTS

Materials

### 2.1	COMFLOR DECKING

Roll formed G500 high tensile galvanized steel sheet with Z275 zinc coating to AS 1397.

### 2.2	TIMBER FORMWORK

No. 2 framing and dressing or merchantable grade radiata pine boards to obtain the concrete finish specified for adjoining concrete work.

### 2.3	REINFORCING STEEL

Grade 500 deformed bars to AS/NZS 4671.

Check with design engineer and modify this clause when other grades of steel are being used.

### 2.4	STEEL MESH

Hard drawn steel wire spot welded to AS/NZS 4671, deformed and to mesh dimensions shown on the drawings.

Modify this clause if dimensions are not shown on drawings.

### 2.5	TYING WIRE

Mild steel drawn wire not less than 1.2mm diameter.

### 2.6	CONCRETE

The concrete producer is responsible for mix design and properties to NZS 3104.

Cement:	To NZS 3122

Aggregate:	To NZS 3121

Rate of sampling:	For compressive strength testing - refer to SELECTIONS.

Refer to design engineer for concrete requirements, including use of admixtures.

### 2.7	TEMPORARY BEARERS AND PROPS

No. 2 framing radiata pine.  Refer to SELECTIONS/drawings for type.

The prop lines are placed at mid-span, or at third span, as required.  It is important that the prop lines are evenly spaced.  They should offer continuous bearing of at least 100mm to the underside of the deck.

Modify this clause when Acrow-type steel props are used, or delete propping if not required.

Components

### 2.8	EDGE TRIM

ComFlor edge trim folded  from G250, to thickness chosen (refer to the edge trim selector table in the ComFlor brochure), Z275 galvanized steel, in 3 metre lengths.  Dimensions as scheduled/as shown on drawings.

For retaining wet concrete at the decked floor perimeters.  Refer to the edge trim selector table in the ComFlor brochure.  Edge trim is available in 0.9mm, 1.2mm, 1.6mm and 2.0mm thicknesses.

### 2.9	DECKING FASTENERS

Shot fired pins or self drilling/tapping fasteners as scheduled/shown on the drawings.

For attaching decking to support structure.

Components - ComFlor 210

### 2.10	COMFLOR 210 END SUPPORT DIAPHRAGMS

ComFlor 210 end support diaphragms folded from G250, 1.5mm  thickness, Z275 galvanized steel, in 2.4 metre lengths.

Steel end support diaphragms, as manufactured by Steel & Tube, are essential to the ComFlor 210 System to ensure the structural integrity of the deck during the construction phase.

Raked end support diaphragms are also available.

### 2.11	COMFLOR 210 SHEAR-BOND CONNECTOR CLIPS

1.2mm gauge galvanized steel as scheduled/as shown on the drawings.

The shear bond connector clip is partly responsible for the composite action of the decking and must not be omitted.

### 2.12	COMFLOR 210 SIDE LAP FASTENERS

Self-drilling fasteners with a minimum diameter of 5.5mm  at 350mm centres.

Used to stitch side laps along the bottom trough of the decking profile in pre-punched holes.  Every side lap fastener should also fix and locate a trough shear connector clip in position.

Recommended fasteners 14g - 10tpi x 22mm.

Components - ComFlor 80

### 2.13	COMFLOR 80 END CLOSURE STRIPS

ComFlor 80 end closure strips folded from G250, 0.55mm thickness, Z200 galvanized steel.

Prevents the flow of concrete back under the decking profile.  Also assists the accurate set out and installation of the ComFlor.

### 2.14	COMFLOR 80 SHEAR CONNECTORS

Welded shear studs as scheduled/ shown on the drawings.

Modify this clause if steel studs are not detailed.  Specify these connectors with the steel beam construction to establish composite action between slab and beam.

### 2.15	COMFLOR 80 HANGER FIXINGS

Galvanized steel wedge nut fixings as suspension points supplied by Steel & Tube.

Used to support suspended ceilings, ductwork, wiring and piping.  Specify here with cross reference, or specify them in the work section making use of them.  The carrying capacity needs checking against the load being suspended.

Supplied as M8 thread only.

### 2.16	COMFLOR 80 SIDE LAP FASTENERS

Use 10g - 16tpi x 16mm self drilling screws at 1000mm centres maximum, to ComFlor requirements.

Used to stitch side laps of the decking profile through the pre-punched holes.

### 2.17	COMFLOR 80 CONSTRUCTION JOINT FORMER

Galvanised profile, shaped to block the trough portion of ComFlor 80 below the layer of mesh.  Timber boxing is used to form the slab height.

Used to form a void or construction joint where the ComFlor 80 sheeting is left intact during the concrete pour and avoids excessive concrete over flow and subsequent scabbling.

Components - ComFlor 60

### 2.18	COMFLOR 60 END CLOSURE STRIPS

ComFlor 60 end closure strips folded from G250, 0.55mm thickness, Z200 galvanized steel.

Avoids the flow of concrete back under the decking profile.  Also assists the accurate set out installation of the ComFlor.

### 2.19	COMFLOR 60 SHEAR CONNECTORS

Welded shear studs as scheduled/as shown on the drawings.

Modify this clause if steel studs are not detailed.  Specify these connectors with the steel beam construction to establish composite action between slab and beam.

### 2.20	COMFLOR 60 HANGER FIXINGS

Galvanized steel wedge nut fixings as suspension points supplied by Steel & Tube	Used to support suspended ceilings, ductwork, wiring and piping.  Specify here with cross reference, or specify them in the work section making use of them.  The carrying capacity needs checking against the load being suspended.

Supplied as M8 thread only.

### 2.21	COMFLOR 60 SIDE LAP FASTENERS

Use 10g - 16tpi x 16mm self drilling screws at 1000mm centres maximum, to ComFlor requirements.

Used to stitch side laps of the decking profile through the pre-punched holes.

### 2.22	COMFLOR 60 CONSTRUCTION JOINT FORMER

Galvanised profile shaped to block the trough portion of ComFlor 60 below the layer of mesh.  Timber boxing is used to form the slab height.

Used to form a void or construction joint where the ComFlor 60 sheeting is left intact during the concrete pour and avoids excessive concrete over flow and subsequent scabbling.

## 3.	EXECUTION

Conditions

### 3.1	DEFECTS

Discard material showing visual defects or damage affecting its structural integrity and/or appearance.

### 3.2	DELIVERY, STORAGE AND HANDLING

Keep all components dry in transit.  Store on a level firm base, clear of the ground on timber bearers, protected from weather, contamination and damage and away from current work areas.  Prevent water and condensation from being trapped between adjacent surfaces.

Do not drag sheets across each other or other materials.  Protect edges and surfaces from damage and ensure that section shape is not damaged during handling, storage or installation.

### 3.3	CONFORM

Conform to NZS 3101, NZS 3404 and AS/NZS ISO 9001 in the design, materials and manufacture of the steel decking.

Application

### 3.4	MODIFICATIONS

Cutting, drilling or modification of steel decking unless shown on the drawings, may only be carried out after receiving written approval.

### 3.5	CUTTING

Cut steel decking with a grinder, nibbler or plasma only.

Field cutting should be kept to a minimum.  Decking sheets shown as continuous on the decking layout drawing should never be cut into more than one length.  Sheets should never be severed at the location of a temporary support and the deck should never be fastened to a temporary support.  Off-cuts and scrap should be disposed of as work progresses.

### 3.6	PROPPING

Locate bearers and props as shown on the drawings.  Propping to be level, vertical and rigidly braced to support the entire width of the steel decking and the construction work.  Minimum bearing width 100mm.  Do not remove the propping structure until the concrete has reached at least 70% of its required design strength, or all construction loading has been removed.

Modify and extend this clause to clarify propping pattern if propping is not shown on the drawings.

### 3.7	FIX COMFLOR EDGE TRIM

Fit and fix galvanized steel edge trim, fixed to the support structure, with the top of the trim connected to the decking with restraint straps at 600mm centres using pop-rivets or self-drilling fasteners.  Prop unsupported edges.

Refer to the edge trim selector table in the ComFlor brochure.  Edge trim is available in 0.9mm, 1.2mm, 1.5mm and 2.0mm thicknesses.  Select according to the edge trim depth required.  Check with the design engineer, as additional reinforcement may be required for unsupported edges.

Application - ComFlor 210

### 3.8	FIX COMFLOR 210 END SUPPORT DIAPHRAGMS

Fit and fix end support diaphragms to the supporting structure, using a minimum of 3 fixings per 2.4 metre length.

### 3.9	ERECT AND PLACE COMFLOR 210

Erect and place to ComFlor requirements.  Manually place the ComFlor decking onto the CF210 end support diaphragm as shown on the drawings with 50mm minimum end bearing of the sheets on steel (75mm on other materials).  The pre-punched hole along the side lap should remain visible from above if the lap is correctly oriented.  Lay sheets square and true to line and level.  As each sheet is placed, fix crest section of the deck to the top of the end support diaphragm using one self-drilling screw per sheet end.  For sheets over 6.5 metres in length, installed with no propping in place, a shear bond clip and Tek screw must be installed in the centre of the span to maintain integrity during installation.  Once the sheets for a whole bay are in place, secure the deck to the beams using one heavy-duty shot fired fixing or self drilling/tapping screw per trough.

Modify this clause if full details are not shown on the drawings.

### 3.10	FIX SHEAR BOND CLIPS COMFLOR 210

Fit and fix shear bond clips along the bottom of the trough of each sheet at 350mm centres using minimum 5.5mm diameter self-drilling fasteners through every pre-punched hole.

### 3.11	FORM OPENINGS AND PENETRATIONS IN THE SLAB

Form openings and penetrations as detailed and to ComFlor requirements, ensuring no trough reinforcing is severed, unless specifically designed for.

Provision of vertical service openings within the floor slab will necessitate careful design and planning.  Smaller openings can be formed in the 425mm wide crest section of the ComFlor 210 deck, using timber shuttering or dense polystyrene blocks; with the metal only cut after curing of the concrete slab.  Refer to the ComFlor 210 brochure for requirements for both small and large openings.  Openings over 300mm will need to be trimmed with additional reinforcing.  Large openings will generally require trimming by secondary beams.

Application - ComFlor 80

### 3.12	ERECT AND PLACE COMFLOR 80

Erect and place the ComFlor 80 decking as shown on the drawings with continuous seating at support lines.  Lay sheets square and true to line and level and screw together using 10g - 16tpi x 16mm self drilling screws at 1000mm centres maximum, to ComFlor requirements.  Decking sheets shown as continuous on the decking layout plan should never be cut into more than one sheet.  Fasten to permanent support structure as detailed on the drawings.

Modify this clause if details are not shown on the drawings.

### 3.13	FIX COMFLOR 80 EDGE FORMS AND END CAPS

Fit to ComFlor requirements.

### 3.14	SITE WELDED SHEAR CONNECTORS

On site flash weld steel stud shear connectors where detailed on the drawings.  Provide a Producer Statement confirming compliance with the procedural control procedures of AS/NZS 1554.2.

Delete this clause when steel studs are shop welded or not used.

### 3.15	FORM OPENINGS AND PENETRATIONS IN THE SLAB

Form openings and penetrations as detailed and to ComFlor requirements, ensuring no trough reinforcing is severed, unless specifically designed for.

### 3.16	CONSTRUCTION JOINTS

Position the ComFlor 80 Construction Joint Former as shown on the drawings, fixed in place through every pre-punched hole.

Application - ComFlor 60

### 3.17	ERECT AND PLACE COMFLOR 60

Erect and place the ComFlor 60 decking as shown on the drawings with continuous seating at support lines.  Lay sheets square and true to line and level and screw together using 10g - 16tpi x 16mm self drilling screws at 1000mm centres maximum, to ComFlor requirements.  Decking sheets shown as continuous on the decking layout should never be cut into more than one sheet.

Fasten to permanent support structure as detailed on the drawings.

Modify this clause if details are not shown on the drawings.

### 3.18	FIX COMFLOR 60 EDGE FORMS AND END CAPS

Fit to ComFlor requirements.

### 3.19	SITE WELDED SHEAR CONNECTORS

Site flash weld steel stud shear connectors where detailed on the drawings.  Provide a Producer Statement confirming compliance with the procedural control procedures of AS/NZS 1554.2.

Delete this clause when steel studs are shop welded or not used.

### 3.20	FORM OPENINGS AND PENETRATIONS IN THE SLAB

Form openings and penetrations as detailed and to ComFlor requirements, ensuring no trough reinforcing is severed, unless specifically designed for.

### 3.21	CONSTRUCTION JOINTS

Position the ComFlor 60 Construction Joint Former as shown on the drawings, fixed in place through every pre-punched hole.

Application - Reinforcement and concrete

### 3.22	PLACE REINFORCEMENT

Place mesh and reinforcement as detailed and to the requirements of 3112 REINFORCEMENT FOR CONCRETE.  Top cover 30mm, unless specifically detailed otherwise.

ComFlor design allows for the inclusion of one single reinforcing bar in each profile trough.  The bar size can vary from 10mm to 32mm diameter.  The height of the bar should be nominated from the base of the trough, whilst being conscious of commonly available bar chairs.

Refer to the ComFlor 210, ComFlor 80 and ComFlor 60 brochures and the Comdek design software for further advice on steel reinforcing design.

### 3.23	CONCRETE PLACEMENT

Before commencing the concrete pour, ensure the decking is clean, free of dirt, grease, debris and water.

Discharge concrete in a controlled manner from no higher than 300mm.

Spread the concrete evenly without excessive heaping.

Maintain a 1 metre working zone between workers in order to minimise local loading of any one part of individual sheets.

Never exceed a construction load of 1.5kPa.

NOTE:  The following gets more critical as the ComFlor is used towards the maximum spanning capabilities as set out in the ComFlor design software.

Start the pour sequence over a line of support where the sheet is continuous over that support (i.e. not over a support where the sheet ends or butt join together).

Place the concrete from the centreline of the support outwards, approximately 1/3 into the span each side of the support.

If the sheet ends at the next support line (double span un-propped, single span with 1 prop line, or end span), the remainder of the exposed sheet can then be filled.

If the sheets are continuous over the next support (multiple or propped span configuration) then repeat the above (1/3) process before filling the remaining strip of exposed sheet.

Refer to the ComFlor - The Complete Guide DVD, HERA R4-107, and CMP 1004 and CMP 1005 in addition to NZS 3109 for full instructions on placement and finishing of the concrete.

For comprehensive instructions as to pour sequence for individual projects, contact a ComFlor representative on 09 271 1780.

Placing concrete in a way to minimise the permanent deformation of the decking is particularly important for construction spans greater than 3 metres.

Finishing - general

### 3.24	SLAB FINISHING

Screed and provide a finish to NZS 3114: table 2, Classes of floor, exterior pavement, invert finishes, and 3121 CONCRETE PLACEMENT.   Refer also to CMP 1004 and CMP 1005 for specific comment regarding concrete finishes on suspended floor systems.

Modify this clause if another standard of surface finish is required.

### 3.25	CONCRETE CURING

To minimise cracking and shrinkage deflections, keep concrete damp for seven days.  Keep time between placing and start of curing concrete to an absolute minimum.

### 3.26	PROP REMOVAL

Do not remove temporary props until the concrete has achieved at least 70% of the design strength and the written direction of the design engineer has been obtained.

Finishing - ComFlor 210

### 3.27	CUT COMFLOR 210 SIDE LAP FASTENERS

Cut side lap fasteners leaving 3mm minimum protruding below the deck.

The shear bond clip is partly responsible for the composite action of the decking and is located by a 5.5mm minimum diameter self drilling screw.  Screws can be cut off for aesthetic and/or safety reasons.

Completion

### 3.28	CLEAN DOWN

At completion of concrete placement, clean the underside of the steel decking of any grout loss to ensure surface is not damaged or marked.

### 3.29	LEAVE

Leave work to the standard required by following procedures.

### 3.30	CLEAN UP

Clean up surrounding areas following completion of the concrete placement.

### 3.31	REMOVE

Remove debris, unused materials and elements from the site.

## 4.	SELECTIONS

Substitutions are not permitted to the following, unless stated otherwise.

SELECTIONS is for providing details of the actual selections to be included in the contract works including model numbers, colours and other information necessary to ensure that the correct materials are supplied and installed

ComFlor 210

### 4.1	COMPOSITE FLOOR DECKING

Brand/type:	ComFlor 210

Gauge:	1.25mm

ComFlor 80

### 4.2	COMPOSITE FLOOR DECKING

Brand/type:	ComFlor 80

Gauge:	~mm

Sheet length:	~ metres minimum

ComFlor 80 is available ex-stock in 0.75mm, 0.9mm, 1.0mm and 1.2mm nominal metal thickness.  .

Minimum sheet length to be provided by the design engineer.

### 4.3	SHEAR STUDS

Stud height:	~mm

Diameter:	~mm

Number per pan:	~

125mm LAW (length after weld) x 19mm are the minimum size of welded shear studs suitable for use with ComFlor 80.  The length, diameter and number per pan are to be provided by the design engineer.

ComFlor 60

### 4.4	COMPOSITE FLOOR DECKING

Brand/type:	ComFlor 60

Gauge:	~mm

Sheet length:	~ metres minimum

ComFlor 60 is available ex-stock in 0.75mm, 0.9mm, 1.0mm and 1.2mm nominal metal thickness.  .

Minimum sheet length to be provided by the design engineer.

### 4.5	SHEAR STUDS

Stud height:	~mm

Diameter:	~mm

Number per pan:	~

100mm LAW (length after weld) x 19mm are the minimum size of welded shear studs suitable for use with ComFlor 60.  The length, diameter and number per pan are to be provided by the design engineer.

Steel reinforcement and concrete

### 4.6	REINFORCING STEEL

Trough bar:	~mm diameter

Bottom cover:	~mm from base of trough

Bar grade:	~

Mesh size:	~

Mesh cover:	~mm

Check with design engineer and modify this clause.

### 4.7	CONCRETE

Mix:	~

Strength:	~ MPa

Thickness:	~mm

Aggregate size:	~mm nominal max

Admixture:	~

Slump:	~ mm max

Rate of sampling:	For compressive strength testing - one sample per ~ m³ (but not less than one for each day of use).

Slab Finish:	~

Check with design engineer for concrete requirements, including use of admixtures.

### 4.8	TEMPORARY BEARERS AND PROPS

Bearers:	~mm x ~mm

Props:	~mm x ~mm

Timber bearers are minimum 100mm x 100mm (check with design engineer).  Modify this clause when Acrow-type steel props are used, or delete propping if not required