Specification for Residential Windows & Doors

1 July 2013

ALTHERM RESIDENTIAL SUITE

2.7 BI-FOLD DOORS

This robust bi-fold system is rated to 2.1m high in ‘very high’ wind zones and includes panels with square-cut corners and an in-frame track for direct frame support. A wide range of configurations are available including the ‘lay-back’ option for 2-panel formats, which allows the panels to open back against an adjacent wall.

Doors shall be constructed using Altherm bifold door frames, utilising panels with an IGU thickness upto 22mm.

- Standard configuration

Open In / Open Out

Applies to Door No’s...  (or refer to the window schedule drawing)

- Lay-back configuration

(only two panels per side can ‘lay-back’)

Applies to Door No’s...  (or refer to the window schedule drawing)

- Options = ...

(options = parliament hinges, bottom rail extender)

Applies to Door No’s...  (or refer to the window schedule drawing)

For alternative options contact APL Technical Support