**Specification for Architectural Series Windows & Doors**

1 July 2013

***ALTHERM – APL ARCHITECTURAL SERIES***

**6.3 BI-FOLD WINDOWS**

*A wide range of open-out configurations are available for the APL Architectural Series bi-fold, but these DO NOT include the ‘lay-back’ option.*

Windows shall be constructed using the APL Architectural Series bi-fold window frame and an IGU thickness up to 26mm.

* All profiles are from the APL Architectural Series bi-fold door system, which is bottom rolling with an in-frame track.

*(* ***NOTE****; check the visible glass area when specifying Architectural Series bi-fold windows for units below 1.00m in height)*

* All windows are externally beaded with square edge rather than sloped beads.

Applies to Window No’s... *(or refer to the window schedule drawing)*

*For alternative options contact APL Technical Support*

**6.7 BI-FOLD DOORS**

*The APL Architectural Series bi-fold system is rated to 2.7m high in ‘very high’ wind zones and includes panels with square-cut corners and an in-frame track for direct frame support. A wide range of configurations are available.*

Doors shall be constructed using APL Architectural Series bi-fold door frames, utilising panels with an IGU thickness up to 26mm.

* Standard configuration

Open Out

Applies to Door No’s... *(or refer to the window schedule drawing)*

* Options = ...

*(options = special requirements e.g. parliament hinges)*

Applies to Door No’s... *(or refer to the window schedule drawing)*

*For alternative options contact APL Technical Support*