Specification for Residential Windows & Doors

1 July 2013

FIRST RESIDENTIAL SUITE

2.3 BI-FOLD WINDOWS

This robust bi-fold system includes panels with square-cut corners and an in-frame track for direct window support. A wide range of open out configurations are available including the ‘lay-back’ option for 2-panel formats, which allows the panels to open back against an adjacent wall.

Windows shall be constructed using FIRST bi-fold window frames, utilising an IGU thickness upto 22mm.

- Standard configuration

Applies to Window No’s...  (or refer to the window schedule drawing)

- Lay-back configuration

(only two panels per side can ‘lay-back’)

Applies to Window No’s...  (or refer to the window schedule drawing)

For alternative options contact APL Technical Support