Specification for Residential Windows & Doors

1 July 2013

FIRST RESIDENTIAL SUITE

2.2 HORIZONTAL SLIDING WINDOWS

Two horizontal sliding window options are available, the Slimline, which can only be single glazed, and the Slidemaster, which is a higher specification slider suitable for double glazing. The Slidemaster includes a ‘flushline’ sill and easy-glide panels for clean appearance and smooth operation.

Slidemaster Sliding Window

Windows shall be constructed using the Slidemaster Sliding Window frame, utilising a 35mm platform and an IGU thickness upto 22mm.

- Panel lead stile options include either plain face (02721) or extruded finger pull (02730).

- Interlocker mullions options include either flat face (02886) or external box for larger spans (02723).

- Include passive ventilation in the form of;

  - Truvent – fitted to the head of the fixed portion of the window.

Applies to Window No’s...  (or refer to the window schedule drawing)

For alternative options contact APL Technical Support