FIRST – METRO SERIES THERMAL HEART

5.1 AWNING and CASEMENT WINDOWS

Windows shall be constructed using Metro Series ThermalHEART frames, utilising a 46mm or 56mm thermally broken platform and allowing an IGU thickness up to 44mm.

- Opening sashes used in the 44mm platform include the standard cover facing option only.

- Opening sashes in the 56mm platform include standard cover facing sashed or flush sashes.

- All windows are externally beaded utilising square edge beads.

( for single glazing there is an option to use square beads)

- Mullions and transoms have external or internal stiffening elements, where required, to satisfy span requirements.

Applies to Window No’s...  (or refer to the window schedule drawing)

For alternative options contact APL Technical Support